## Slide 1: Superresolution Microscopy by Single Molecule Switching and Localziation
Kurt Thorn
Nikon Imaging Center, UCSF

## Slide 2: The Resolution Limit in Light Microscopy
Image resolution improves with Numerical Aperture (NA)
Sample
Objective
Tube lens
Back focal plane aperture
Intermediate image plane
Diffraction spot
on image plane
(resolution)

NA = n sin()
= light gathering angle
n = refractive index of sample
where:

## Slide 3: The Resolution Limit in Light Microscopy

## Slide 4: Improving The Resolution Limit in Light Microscopy
d = l / 2n sin a
To improve resolution (smaller d):
Use smaller l – UV objectives
Use larger n – Sapphire coverslips
Use larger a – 4pi / I5M
Sample


Objective
Objective

## Slide 5: Improving The Resolution Limit in Light Microscopy
d = l / 2n sin a
What does this assume?
Uniform illumination
Continuous sample
What if we break it?
Structured illumination
Localize single molecules (PALM/STORM/etc.)

## Slide 6: How does imaging single molecules help us?
Imagine taking a measurement
Multiple times
Adding measurements improves our ability to estimate the mean

## Slide 7: How does imaging single molecules help us?
Can measure the center of a distribution higher accuracy than any single measurement

## Slide 8: How does imaging single molecules help us?
Can measure the center of a distribution higher accuracy than it’s width.
Can determine the center of a single molecule to much higher accuracy than it’s width.

## Slide 9: Single-molecule localization precision
D  d / √−N
1 photon
10 photons
100 photons
1000 photons

## Slide 10: Single molecules can be precisely localized
How can we apply this to imaging?
Problem: in our image, we can’t see single molecules – we see lots and lots of molecules and we can resolve them from each other.
What if we could turn off all the molecules, and then turn them on a few at a time?

## Slide 11: Super-resolution by localization
Raw images
STORM Image
2x real time
Activation
Localization
Deactivation
Also named as PALM (Betzig et al., Science, 2006) and FPALM (Hess et al., Biophys. J. 2006)
Rust, Bates & Zhuang, Nat. Methods, 2006 Bates, Huang, Dempsey & Zhuang, Science, 2007
Stochastic Optical Reconstruction Microscopy = STORM
Fluorescence image
N
N
+
Photoswitchable molecules

## Slide 12
5 μm
B-SC-1 cell,
Microtubules stained with anti-β tubulin
Cy3 / Alexa 647 secondary antibody
Bates, Huang, Dempsey and Zhuang, Science, 2007
Reconstructed from 40,000 frames, 3,350,370 localization points
Notes: Explanation of labeling, immunostaining procedure slides (animation)

## Slide 13
500 nm
5 μm
Bates, Huang, Dempsey and Zhuang, Science, 2007

## Slide 14
FWHM = 24 nm
stdev = 10 nm
5 μm
Bates, Huang, Dempsey and Zhuang, Science, 2007
FWHM ≈ 320 nm
Notes: Explaining resolution in 3D only?

## Slide 15: 3D Imaging: Localization in the Third Dimension
EMCCD
2γ
(x, y, z)
400
200
0
-200
-400
z (nm)
In focus
(x, y)
Huang, et al., Science, 2008
Scan z = -600 to 600 nm
Notes: Having all three on at the same time, changing color

## Slide 16: 3D Imaging of the Microtubule Network
5 μm
Huang, Wang, Bates and Zhuang, Science, 2008
Scale bar: 200 nm
z (nm)
300
0
600
Notes: No “two-layer”, just say the whole thing is 400 nm, cannot be resolved by confocal.

## Slide 17: 3D Imaging of the Microtubule Network
5 μm
Huang, Wang, Bates and Zhuang, Science, 2008
Small, isolated clusters
22 nm
28 nm
55 nm
z (nm)
300
0
600
FWHM
Notes: No “two-layer”, just say the whole thing is 400 nm, cannot be resolved by confocal.

## Slide 18: Other 3D localization method
EMCCD
(x, y, z)
400
200
0
-200
-400
z (nm)
(x, y)
Astigmatic imaging
Huang et al., Science 2008
Bi-plane imaging
Double-helical PSF
Juette et al., Nat Methods 2008
EMCCD
SLM
1400
600
0
-500
-900
z (nm)
Pavani et al., PNAS 2009

## Slide 19: Super-resolution by localization
Combines two ideas:
  Localization Microscopy
  Single Molecule Switching

## Slide 20: Single-Molecule Switching Approaches
Lots of acronyms:
PALM
FPALM
STORM
dSTORM
GSDIM
PALMIRA
SMACM
PAINT
SPRAIPAINT
All use single-molecule localization
Main differences are how you switch the molecules on and off

## Slide 21: Single Molecule Switching using Fluorescent Proteins
Photoactivatible molecules: PA-GFP, PA-mCherry, PA-TagRFP
PALM, FPALM
OFF
ON
405nm
Photoconvertible molecules: mEos2/3, PS-CFP2, PSmOrange
Green
Red
405nm

## Slide 22: Parameters for evaluating dyes
Number of photons emitted before bleaching / blinking
Contrast ratio – brightness of ON state relative to OFF state

## Slide 23: Why Contrast Matters
What if your OFF state isn’t completely off?
OFF
ON
405nm
OFF
Can no longer distinguish single molecules above background

## Slide 24: Fluorescent Proteins for Single Molecule Switching
Protein | λex | λem | Contrast Ratio | Nphotons (median) | Notes
PS-CFP2 | 490 | 511 | 2000 | 260 | Cyan-to-green
mGeos-M | 503 | 514 |  | 387 | Reversibly photoactivatible
PATagRFP | 562 | 596 | 540 | 500? | Photoactivatible
PAmCherry | 564 | 595 | 4000 | 348 | Photoactivatible
tdEos | 569 | 581 |  | 499 | Green-to-red
mEos2 | 573 | 584 |  | 379 | Green-to-red
mEos3.2 | 572 | 580 |  | 482 | Green-to-red
PSmOrange | 631 | 662 | 10700 | 337 | Orange-to-far red
Full table at http://nic.ucsf.edu/dokuwiki/doku.php?id=storm:fps

## Slide 25: Multi-color and FPs
OFF
ON
405nm
Green
Red
405nm
OFF
405nm
Red
e.g. PA-GFP, mGeos-M
e.g. mEos2/3
e.g. PA-TagRFP, PA-mCherry
Cyan
Green
405nm
e.g. PS-CFP
FarRed
405nm
e.g. PSmOrange
Red

## Slide 26: Single Molecule Switching Using Small Molecule Dyes
STORM, dSTORM, GSDIM
S0
S1
em
T1
exc
Singlet states
Triplet states

## Slide 27: Single Molecule Switching Using Small Molecule Dyes
STORM, dSTORM, GSDIM
S0
S1
T1
exc
Singlet states
Triplet states

## Slide 28: Single Molecule Switching Using Small Molecule Dyes
STORM, dSTORM, GSDIM
S0
S1
T1
exc
Singlet states
Triplet states
Other dark states
Dark states can be long-lived

## Slide 29: Single Molecule Switching Using Small Molecule Dyes
The idea:
Drive the majority of molecules into a dark state
  Use high laser power
  Special buffers
Wait for molecules to spontaneously return to ground state
  Image them until the bleach or return to dark state
STORM, dSTORM, GSDIM

## Slide 30: Photoswitching of red cyanine dyes
photoactivation
Deactivation
650 nm
360 nm
650 nm
Fluorescent
Dark
Cy5 / Alexa 647
N
N
+
+ thiol
Bates eta l., PRL 2005, Bates et al., Science 2007, Dempsey et al., JACS 2009

## Slide 31: Multicolor Single Molecule Switching: Activation
photoactivation
Deactivation
650 nm
360 nm
650 nm
Fluorescent
Dark
Cy5
Cy5
Cy3
Cy3
532 nm

## Slide 32: Controlling the activation of Cy5
photoactivation
Deactivation
650 nm
Fluorescent
Dark
3
0
2
0
1
0
0
t
i
m
e
(
s
)
Activation pulses
Fluorescence
405 nm
532
457
Cy3
Cy2
Alexa 405
Cy5

## Slide 33
1 μm
Bates, Huang, Dempsey and Zhuang, Science, 2007
█ Cy3 / Alexa 647: Clathrin
█ Cy2 / Alexa 647: Microtubule
Crosstalk subtracted
Laser sequence
457
532
…
…
Cy3
A647
Cy2
A647

## Slide 34: Multicolor Single Molecule Switching: Emission
If you use high enough laser power, many molecules can be driven to the dark state
Cy3B, Atto488, …
S0
S1
T1
exc
Singlet states
Triplet states
Other dark states
See Dempsey et al. Nat. Meth. 2011, p. 1027

## Slide 35: Multicolor STORM/PALM
mEosFP2
Alexa647
561 nm
642 nm
635DRLPXR
575 nm
675 nm

## Slide 36
mEos2-tubulin
Alexa 647 anti-β tubulin
Drosophila S2 cells
2 µm
Daichi Kamiyama

## Slide 37
Alexa 647 – anti β tubulin
mEos2 tubulin
Daichi Kamiyama

## Slide 38: An alternative strategy: time slicing
Use a multi-pass emission filter
Alternate laser excitation so that every other frame is a different dye.
…
Cy3B
A647

## Slide 39: Multicolor imaging approaches
By emission wavelengths
Simple fluorophores
Low crosstalk
Continuous imaging
Multi-channel detection optics
Needs nanometer scale image alignment
By activation wavelengths
Dye-pairs
Crosstalk from nonspecific activation
Laser sequences
Single channel detection
Images naturally aligned

## Slide 40: Summary: Labeling Strategies
Fluorescent proteins
  mEos is a good starting point
  Multicolor may be challenging
Cy5 / A647 plus activator dyes
  Need to label your own antibodies
  Crosstalk a problem
Dyes driven to dark state
  Need high laser power
Photoswitchable / photoactivatible dyes
  Not many options yet (Aberrior)

## Slide 41: Effective resolution: Probe matters
100 nm
Antibodies: ~ 10 nm
Measured FWHM by antibody: 58 nm
Actual microtubule diameter: 25 nm
Small fluorophores: ~ 1 nm
100 nm
Fluorescent Proteins: ~ 3 nm
< 1000 photons
~ 6000 photons
~ 6000 photons
100 nm
Measured FWHM by antibody: 58 nm
Actual microtubule diameter: 25 nm
Measured FWHM by FP: 43 nm

## Slide 42: Fluorescent protein vs. Antibody
Fluorescent protein fusion
Live sample labeling
High specificity
High labeling efficiency
Genetically encoded
Lower S/N
Multicolor imaging so far challenging
Antibody immunofluorescence
Fixed sample
Potential nonspecific labeling
Lower labeling efficiency
Labeling endogenous proteins
High signal = high localization precision
More versatile for multicolor imaging

## Slide 43: Effective resolution: Density matters
Frames for image reconstruction:
200
500
1,000
5,000
40,000
Point to point distance ≈ Feature size
Point to point distance < ½ Feature size
This labeling density limit of resolution applies to all fluorescence microscopy methods
Nyquist criteria

## Slide 44: Other issues
Sample drift
  Dedrifting by cross-correlation
  Fiducial markers (gold particles, beads)
Fixing
  Background fluorescence
  Sample preservation

## Slide 45: Acknowledgements / Further Reading
Bo Huang
http://nic.ucsf.edu/dokuwiki/doku.php?id=storm
Lots of papers